# Lysosomes Detector GUI
Software Documentation

This document describes the workflow, logic, functions, and main parameters of the Lysosomes Detector GUI software for automated 3D lysosome detection and quantitative fluorescence microscopy analysis.

## Overview

The software analyzes multichannel 3D TIFF/CZI microscopy datasets. Channel 1 contains lysosomes and Channel 2 contains the cell marker. It automatically detects lysosomes, segments cells, assigns lysosomes to cells, quantifies fluorescence and volumes, generates visualizations, and exports publication-ready datasets.

## Processing Workflow

1. Load microscopy image

2. Read voxel metadata

3. Preprocess images

4. Detect lysosomes using Laplacian of Gaussian

5. Refine lysosome radius using Gaussian fitting and radial intensity profiles

6. Segment cells using adaptive thresholding and watershed

7. Assign lysosomes to cells

8. Quantify fluorescence and morphology

9. Generate visualizations and videos

10. Optional Napari editing

11. Export CSV, TIFF and MP4 outputs

## Major Script Blocks

| Block | Description |
| --- | --- |
| GUI | Collects user parameters and file locations. |
| Image Loading | Loads TIFF/CZI images and voxel metadata. |
| Metadata Parsing | Extracts physical pixel sizes from OME-TIFF or CZI metadata. |
| Lysosome Detection | Detects lysosomes with blob_log. |
| Radius Refinement | Improves radius estimation using Gaussian fitting and FWHM. |
| Cell Segmentation | Segments cells using thresholding and watershed. |
| Classification | Assigns lysosomes to cells or outside. |
| Quantification | Computes fluorescence, volume and spatial statistics. |
| Visualization | Creates overlays, TIFF stacks, MP4/GIF movies. |
| Napari Editing | Allows manual correction of detections. |
| Export | Writes all quantitative results to CSV. |

## Main Functions

| Function | Purpose |
| --- | --- |
| get_user_config_gui() | Creates GUI and returns user configuration. |
| load_any() | Loads TIFF/CZI images and metadata. |
| refine_radii_via_3d_gaussian_fit() | Fits local 3D Gaussian to estimate lysosome radius. |
| refine_radii_via_radial_intensity() | Computes radial intensity profile and FWHM. |
| auto_morphology_params() | Automatically determines morphology parameters. |
| apply_morphology_auto() | Applies opening, closing and erosion. |
| export_fullsize_overlay_stack() | Exports RGB overlays and videos. |

## Important Parameters

| Parameter | Meaning |
| --- | --- |
| BLOB_THRESHOLD | LoG detection sensitivity |
| BLOB_MIN_SIGMA | Minimum detectable blob size |
| BLOB_MAX_SIGMA | Maximum detectable blob size |
| BLOB_NUM_SIGMA | Number of LoG scales |
| CH2_SMOOTH_SIGMA | Cell image smoothing |
| THRESH_BLOCK_SIZE | Adaptive threshold window |
| THRESH_OFFSET_STD_MULT | Threshold offset |
| ERODE_MULT | Additional erosion |
| DIST_SMOOTH_SIGMA | Distance map smoothing |
| H_MAXIMA | Watershed seed sensitivity |
| MARGIN_UM | Soft cell boundary |
| OVERLAP_ALPHA | Minimum overlap for intracellular classification |
| NEIGHBOR_MAX_VOX | Nearest-cell search distance |
| RADIAL_MAX_RADIUS_NM | Maximum radius examined |
| RADIAL_DR_NM | Radial sampling interval |
| RADIAL_MIN_DROP_FRACTION | Minimum radial intensity decrease |
| VIZ_MIN_VOXELS | Minimum displayed cell size |
| VIDEO_FPS | Video frame rate |
| GENERATE_VIDEOS | Generate MP4/GIF outputs |
| LAUNCH_VIEWER | Launch Napari after analysis |

## Outputs

CSV tables

Overlay TIFF stacks

MP4/GIF videos

Segmentation masks

Debug images

Napari-edited lysosome tables

## Applications

Designed for quantitative analysis of lysosomes in fluorescence microscopy, including confocal and light-sheet imaging, intracellular trafficking studies, and high-content image analysis.